## Sheet1
Topic | Sub Topic | Description | Signal codes
7200C/PHB/FD | Low Battery | We have received a low battery signal. Please contact the Subscriber to resolve. Originating device serial #: [insert serial] | PER007
Wearable Device | Low Battery | We have received a signal that indicates that the Subscriber's personal wearable device needs to be replaced due to a low battery. | 610, LL007, LL031, LL032, LL033, LL034, LL035, LL036, LL037, LR007, AN405, LR063, LL060
Wearable Device | Battery Fault | We have received a signal that indicates that the battery in the wearable device may have a fault. Please contact the Subscriber to troubleshoot if the device is able to receive a charge. If it's not able to charge, please replace. | AN404
Home Communicator | Failed Supervision | We have received a Failed Supervision alarm (communicator cannot locate wearable) from the Subscriber's device. Please contact the Subscriber to resolve. | 232, LL055, LR048, PER010
Home Communicator | Low Battery | The Subscriber's Home Communicator is reporting a Low Battery signal which indicates that the unit's internal battery is running low and needs to be replaced. | 600, LL006, LR006
Home Communicator | HW/SW Failure | We have received a notification that indicates a fault has occurred with the communicator. Please call your Subscriber immediately and alert them that their communicator needs replacement. We request that you coordinate a service visit with your customer within 24-48 business hours. | LR061, LR062, PER011, PER012
Device | Missed ATC | The Subscribers device did not send in its scheduled Automatic Test Call. Please contact the subscriber. | MATC
Home Communicator | No A/C | We have received a No A/C signal from the home communicator. Please contact the Subscriber to resolve. | 700, LL008, LL046, LL052, LR008, PER008
Smoke Detector | Low Battery | We have received a low battery signal from the Lifeline Smoke Detector. Please contact the Subscriber to resolve. | 620, LL010, LR010